## ET (hidden)
Primary Data
Unit Type | Type | Source | Date | Region | Manufacturer | Model Number | Total Equip Cost | Labor hours | Labor Rate | Total Installed Cost | Notes
Category 1: LED fixture integrated controls designed to respond to a combination of occupancy and ambient lighting conditions
Must meet DLC and/or Energy Star criteria
Both retrofit and new construction measure
Category 2: Lighitng control panels/modules designed to control LED lighting circuits, addressing multiple functions
Multi-function (daylight dimming, occ switching, timing, ctrl systems designed for control of Led lighting. Reference DLC ctrl products currently under development
Both retrofit and new construction measure
Basics: can respond to multiple signals in order to turn lighting on or off or dim it.
Note on B4: Valerie Eacret: Web, report, interview

## Read Me (hidden)
Green Tabs | Advanced LED Controls
White Tabs | Advanced Compressed Air Monitoring

## Emerging Tech (hidden)
Emerging Technology Features and Functionality
The most basic definition of advanced LED controls is that they respond to multiple signals to turn lighting on or off or to dim it.
Controls are avaiable which can either be added on to an existing system, or which are integrated into fixtures.
Some utilities have come up with rebate programs for these controls, which have specific requirements for advanced LED controls that they will rebate. Two of them are listed below.
This study will focus on controls integrated to the fixture to make cost comparisons more useful.
There are many features offered my the advanced LED controls in the market. The table below shows a list of a number of different features and
| Feature | Note | Source
| Networked | Required for product inclusion on Design Lights Consortium Qualified Products List | Design Lights Consortuim 2015 Controls Summit Presentation
| Zoning - Reconfigurable with layering | Required for product inclusion on Design Lights Consortium Qualified Products List | Design Lights Consortuim 2015 Controls Summit Presentation
| Occupancy sensing | Required for product inclusion on Design Lights Consortium Qualified Products List | Design Lights Consortuim 2015 Controls Summit Presentation
| Daylight Harvesting | Required for product inclusion on Design Lights Consortium Qualified Products List | Design Lights Consortuim 2015 Controls Summit Presentation
| Task tuning with high end trim | Required for product inclusion on Design Lights Consortium Qualified Products List | Design Lights Consortuim 2015 Controls Summit Presentation
| Continuous dimming | Required for product inclusion on Design Lights Consortium Qualified Products List | Design Lights Consortuim 2015 Controls Summit Presentation
| Security | Required for product inclusion on Design Lights Consortium Qualified Products List | Design Lights Consortuim 2015 Controls Summit Presentation
| Graphical User Interface | Required for product inclusion on Design Lights Consortium Qualified Products List | Design Lights Consortuim 2015 Controls Summit Presentation
| Autonomous/distributed processing scheduling | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported | Design Lights Consortuim 2015 Controls Summit Presentation
| Luminaire integration | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported | Design Lights Consortuim 2015 Controls Summit Presentation
| Scheduling | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported | Design Lights Consortuim 2015 Controls Summit Presentation
| Personal control | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported | Design Lights Consortuim 2015 Controls Summit Presentation
| Load shedding/demand response | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported. Also required for MassSave Networked Lighting Controls Program. | Design Lights Consortuim 2015 Controls Summit Presentation, https://www.smud.org/en/business/save-energy/rebates-incentives-financing/lighting/advanced-lighting-controls.htm
| Plug load control | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported | Design Lights Consortuim 2015 Controls Summit Presentation
| EMS/BMS integration | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported | Design Lights Consortuim 2015 Controls Summit Presentation
| Energy performance monitoring | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported | Design Lights Consortuim 2015 Controls Summit Presentation
| Device monitoring/remote diagnostics | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported | Design Lights Consortuim 2015 Controls Summit Presentation
| Operational and standby power | If product is listed on the DLC's QPL, this feature, or lack thereof, must be reported | Design Lights Consortuim 2015 Controls Summit Presentation
| More than 150 fixtures controlled | Required for MassSave Networked Lighting Controls Program | http://www.masssave.com/~/media/Files/Business/Lighting-Controls/MassSave-Network-Lighting-Controls_Project-Requirements.pdf
| Task Tuning | Required for MassSave Networked Lighting Controls Program | http://www.masssave.com/~/media/Files/Business/Lighting-Controls/MassSave-Network-Lighting-Controls_Project-Requirements.pdf
| Time Scheduling | Required for MassSave Networked Lighting Controls Program | http://www.masssave.com/~/media/Files/Business/Lighting-Controls/MassSave-Network-Lighting-Controls_Project-Requirements.pdf
| Programmed Occupancy Sensors | Required for MassSave Networked Lighting Controls Program | http://www.masssave.com/~/media/Files/Business/Lighting-Controls/MassSave-Network-Lighting-Controls_Project-Requirements.pdf
| Programmed Daylight Harvesting | Required for MassSave Networked Lighting Controls Program | http://www.masssave.com/~/media/Files/Business/Lighting-Controls/MassSave-Network-Lighting-Controls_Project-Requirements.pdf
| Integration capability with HVAC | Required for MassSave Networked Lighting Controls Program | http://www.masssave.com/~/media/Files/Business/Lighting-Controls/MassSave-Network-Lighting-Controls_Project-Requirements.pdf
| Have a graphical user interface | Required for SMUD Advanced Lighting Controls Program | https://www.smud.org/en/business/save-energy/rebates-incentives-financing/lighting/advanced-lighting-controls.htm
| Display near real time status of the lighting fixtures (i.e. on, off, dimmed mode) on a floor plan | Required for SMUD Advanced Lighting Controls Program | https://www.smud.org/en/business/save-energy/rebates-incentives-financing/lighting/advanced-lighting-controls.htm
| Ability to modify operating schedules for fixtures within each zone via internal and external means (software interface, web, smartphone, etc) | Required for SMUD Advanced Lighting Controls Program | https://www.smud.org/en/business/save-energy/rebates-incentives-financing/lighting/advanced-lighting-controls.htm
| Ability to measure, track, and generate reports for kWh consumption, electrical demand, and estimated energy and cost savings in each lighting control zone | Required for SMUD Advanced Lighting Controls Program | https://www.smud.org/en/business/save-energy/rebates-incentives-financing/lighting/advanced-lighting-controls.htm
| Ability to set maximum operating limits (e.g. fixtures limited to 80% maximum output)for each zone via the software interface. | Required for SMUD Advanced Lighting Controls Program | https://www.smud.org/en/business/save-energy/rebates-incentives-financing/lighting/advanced-lighting-controls.htm
| Ability to modify time delays and operating schedules for occupancy sensors within each zone via the software interface. | Required for SMUD Advanced Lighting Controls Program | https://www.smud.org/en/business/save-energy/rebates-incentives-financing/lighting/advanced-lighting-controls.htm
| Ability to modify settings for daylight harvesting sensors within each zone via the software interface | Required for SMUD Advanced Lighting Controls Program | https://www.smud.org/en/business/save-energy/rebates-incentives-financing/lighting/advanced-lighting-controls.htm
| AutoDR capable | Required for SMUD Advanced Lighting Controls Program | https://www.smud.org/en/business/save-energy/rebates-incentives-financing/lighting/advanced-lighting-controls.htm
The table below lists identified advanced LED controls that are already in the market and which will be investigated for incremental cost. Their features will also be compared to attempt to compare apples to apples pricing.
| Manufacturer | Networked Lighting Control: | Website: | Integrated into fixture? | Cost | Notes
| Crestron | Crestron Lighting Control & Fusion | http://www.crestron.com/resources/product_and_programming_resources/catalogs_and_brochures/online_catalog/default.asp?jump=1&model=sw-fusion-em
| Cree | Smartcast | http://lighting.cree.com/products/indoor/controls/cree-smartcast-technology | Yes | 16.88 | A large customer in Silicon Valley installed these integrated controls. The cost is based off of the actual project invoice. Although the controls are integrated into the fixture, they were ordered as an add-on feature, and were thus separated from the cost of the fixture itself on the invoice.
| Plimoth Bay Controls, LLC | SunSense | http://plimothbaycontrols.com/project/sunsense-system-lighting-control-server/ | No | 12400 | This price is for a 4 story office builing with 200 fixtures per floor.
| Lutron | Quantum | http://www.lutron.com/en-US/Products/Pages/WholeBuildingSystems/Quantum/Overview.aspx | No
| Osram Sylvania | Encelium | https://www.sylvania.com/en-us/products/lighting-controls/Pages/ENCELIUM-Wireless-Solutions.aspx | No
| Enlighted | Enlighted Room Control | http://www.enlightedinc.com/wp-content/uploads/2015/04/Room-Control.pdf | No |  | Can earn you 10 LEED points and 1 innovation point.
| Philips | Dynalite | http://www.isearch.philips.com/search/search?q=dynalite&s=lighting&l=global&h=lighting&sid=header | No
| Cooper Controls | Fifth Light | http://www.cooperindustries.com/content/public/en/lighting/controls/brands/flt.html | No
| Autani, LLC | LightCenter | http://www.autani.com/products/lighting-controls/ | No
| Acuity | nLight | http://nlightcontrols.com/ | Yes |  | There are lights avaiable which have the option to have nLIght controls integrated into them or not, making incremental cost very clear for this product.
| legrand | WattStopper | http://www.wattstopper.com/products/lighting-control-panel-systems.aspx#.VfCYvRFVhBc | No
| Digital Lumens | LightRules | http://digitallumens.com/products/lightrules/ | Yes
| Daintree | ControlScope | http://www.daintree.net/products/wireless-lighting-control/ | No
| Dimonoff Inc | Lite node | http://www.dimonoff.com/news/litenode-intelligent-wireless-relay-simply | No
| Delta Controls | DDM-880, DLC-G1212, DLC-Pxxxx | http://www.deltacontrols.com/products/lighting-control/centralized-lighting-control | No
| Exergy Controls | XRG-1000 | http://www.exergycontrols.com/the-exergy-system/ | No
| Fulham Controls | ROOM SOLUTION | http://horse.fulham.com/product-systems/control-systems/ | No
| Eaton Cooper Industries | Metalux Encounter | http://www.cooperindustries.com/content/public/en/lighting/redirects/encounter.html | Yes
| Eaton Cooper Industries | Sky Ridge LEDs | http://www.cooperindustries.com/content/public/en/lighting/products/recessed_linear_lighting/direct_indirect/_843402.html | Yes
| Dialight | SafeSite | http://www.dialight.com/Product/Category/SafeSite_LED_Lighting_LED_Linear_Fixtures | Yes
| Philips | Spacewise | http://www.usa.lighting.philips.com/lightcommunity/trends/led/spacewise.wpd | Yes
| Crestron | Crestron Lighting Control & Fusion | http://www.crestron.com/resources/product_and_programming_resources/catalogs_and_brochures/online_catalog/default.asp?jump=1&model=sw-fusion-em | No
The table below lists the applicable code for some northeastern states fornew costruction projects and other renovations which trigger code.
| State | Code | Website
| MA & RI | IECC 2012: requires occupancy sensors with automatic control and automatic daylight harvesting for most rooms, including classrooms, private offices, conference rooms, break rooms, restrooms, and all spaces less than 300 sq ft enclosed by floor to ceiling partitions. | https://www.energycodes.gov/sites/default/files/becu/2012iecc_commercial_lighting_BECU.pdf
| CT | IECC 2009 | http://www.bcd.oregon.gov/committees/10cec/2009_IECC_Lighting.pdf
| VT | Code is separate from IECC and is called the Commercial Building Energy Standards (CBES). | https://www.efficiencyvermont.com/for-my-business/ways-to-save-and-rebates/new-construction-major-renovation/Energy-Code
| NY | Combination of IECC 2009, plus some of their own additional requirements. | https://www.dos.ny.gov/dcea/energycode_code.html
Incremental cost study for emerging technologies
Focusing on Advanced LED controls
Interested in what's on the market now and what will be in the near future

## BL (hidden)
Primary Data
Unit Type | Source Type | Source | Date | Region | Manufacturer | Model Number | Total Equip Cost | Labor hours | Labor Rate | Total Installed Cost | Notes
DLC/Energy Star compliant LED lighting fixtures designed for similar applications, but lacking integral controls; and/or standard code compliant lighting controls, depending on application.
NC baseline:
Retrofit baseline:
Interview

## Costs
Advanced LED Controls: Emerging Technology Incremental Costs
Incremental Cost Trends
This technology is in early market stages and no discernable cost trends in either direction can be reported from the collected data. The GSA study referenced on the "Studies" tab and a number of interviewees predict that costs will be reduced somewhat over the next year or more as additional products enter the market, contractors become familiar with the installations, and economies of scale take effect. Manufacturers report pricing their products to match the current market conditions, rather than solely on production costs, which can limit future cost reductions. Some manufacturers reported anticipating adding features to their systems which would tend to offset any price reductions. Based on recent trends for other types of controls, it can be anticipated that installed costs may be reduced by 10-20% over the next years, for systems with similar features.
Incremental Cost per Square Foot of Advanced LED Controls Based on Reviewed Project Documentation
| Incremental Cost/sq ft | Description | Notes | Source | Date of Data
| 0.25241 | Cost per square foot of advanced LED control solution | Installation was in a conference room in an office building in California | Invoice for a 535 square foot room with 8 integrated fixtures installed | Oct 2015
| 1.36 | Incremental cost of LEDs with advanced controls compared to T5HO as baseline | Part office space, part manufacturing space. Baseline used was alternative proposal | Project documentation from study sponsor | 2013
| 2.34 | Cost to add advanced LED controls to existing fixtures | Large office building | Project documentation from study sponsor | Oct 2015
| 3.55 | Cost to add advanced LED controls to existing fixtures | Large office building in NYC | ERS project document review | 2015
| 2.89 | Cost to add advanced LED controls to existing fixtures | Large office building in NYC | ERS project document review | 2015
| 2.36 | Cost estimate to add advanced LED controls to existing fixtures | Lab space in NYC | ERS project document review | 2016
| 2.78 | Cost estimate to add advanced LED controls to existing fixtures | Lab space in NYC | ERS project document review | 2016
| 2.2186 | Average incremental cost per square foot
Data Collected in Researching Incremental Costs of Advanced LED Controls
Cost | Amount | Description | Notes | Source | Date
Incremental | $15-20 | Incremental cost/fixture for manufacturer to add adv. LED ctrls | High estimate. Likely to decrease w/ volume increase. Value confirmed below. | Interview with Manufacturer A | Nov 2015
Incremental | $50-75 | Incremental cost to add advanced LED controls to fixtures in the field | ~3x the cost to integrate controls into the fixture at the manufacturer | Interview with Manufacturer A | Nov 2015
Incremental | 65% | Estimated incremental cost of an advanced LED control solution | 50% material cost, 10-15% labor cost | Interview with Manufacturer A | Nov 2015
Full | 250 | Full cost of installing adv LED ctrl solution in private office | Likely around 200 sq ft | Interview with Manufacturer B | Nov 2015
Full | $50,000 - $200,000 | Cost of installing adv LED ctrls in typical commercial office space | Varies based on finished desired and many other factors | Interview with Manufacturer B | Nov 2015
Full | 500000 | Price of an adv LED ctrl solution for 10 story comerical office building | Estimated, not based on specific project data | Interview with Manufacturer C | Nov 2015
Full | 5000 | Price/room of installing adv LED ctrls in 80 rooms in healthcare facility, with identical operation in each room | Commissioning is simpler when all rooms operate identically. | Interview with Manufacturer C | Nov 2015
Full | $6,000-6,500 | Price/room of installing adv LED ctrls in 80 rooms in a healthcare facility, treating each room individually. | Incremental price/room of individual operation is ~$1,250 per room compared to identical operation of all rooms. | Interview with Manufacturer C | Nov 2015
Full | 10% | Percent of project cost that typically goes to commissioning and setup | Commissioning will be required with any adv LED ctrl solution | Interview with Manufacturer C | Nov 2015
Full | 25-35% | Percent of project cost for integration with other systems | For retrofit or new construction scenarios with different brands of equipment | Interview with Manufacturer C | Nov 2015
Full | $1.50/sq ft | High bound of advanced LED control soution | Includes 1 day of commissioning and 1 day of end user training. | Interview with Manufacturer C | Nov 2015
Full | $1.10-$1.20 | Average cost per square foot of advanced LED control solution | Includes 1 day of commissioning and 1 day of end user training. | Interview with Manufacturer D | Dec 2015
Baseline | 0.9 | Cost of a minimally code compliant solution supplied by Manufacturer D | Estimated, not based on specific project data | Interview with Manufacturer D | Dec 2015
Incremental | 16.88 | Cost/fixture to add adv LED ctrls to LED troffer at the time of manufacture | Installation was in a conference room in an office building in California | Invoice for 535 sq ft room w/ 8 fixtures. | Oct 2015
Full | 257.63 | Cost/fixture of LED troffer with an integrated adv ctrl solution | Total fixture cost including control. Installation was in a conference room in an office building in California | Invoice for 535 sq ft room w/ 8 fixtures. | Oct 2015
Incremental | 0.25241 | Cost per square foot of advanced LED control solution | Installation was in a conference room in an office building in California | Invoice for 535 sq ft room w/ 8 fixtures. | Oct 2015
Incremental | $1.36/ sq ft | LEDs with advanced controls compared to T5HO baseline | Part office space, part manufacturing. Baseline used was alternative proposal | Project documents from study sponsor | 2013
Incremental | $2.34/ sq ft | Incremental cost of adding advanced LED ctrls to current system | This is for a large office building. Baseline is current system. | Eversource | Oct 2015
Incremental | $3.55/ sq ft | Cost to add advanced LED controls to existing fixtures | Large office building in NYC. Baseline is current system. | ERS project document review | 2015
Incremental | $2.89/ sq ft | Cost to add advanced LED controls to existing fixtures | Large office building in NYC. Baseline is current system. | ERS project document review | 2015
Incremental | $2.36/ sq ft | Cost estimate to add advanced LED controls to existing fixtures | Lab space in NYC. Baseline is current system. | ERS project document review | 2016
Incremental | $2.78/ sq ft | Cost estimate to add advanced LED controls to existing fixtures | Lab space in NYC. Baseline is current system. | ERS project document review | 2016
Full | $6.69/ sq ft | Retrofit existing fixtures to LEDs with advanced ctrls | Average cost of 25 projects at 25 stores in a northeastern grocery store chain | ERS project document review | 2016

## Baselines
Advanced LED Controls: Baselines and Appliccable Codes
The table below lists the applicable code for some northeastern states for new costruction projects and other renovations which trigger code, along with their last revision and update cycle.
It is current as of December 2015.
Source: NEEP Website (http://www.neep.org/initiatives/energy-efficient-buildings/codes-tracker)
For most code jurisdictions, occupancy/vacancy sensors or scheduling controls are required for most office and educational type spaces, with automatic daylight sensors required for some specific daylit zones.
For any retrofit projects which do not trigger the applicable code in the state of installation, the presumed baseline is the preexisting condition.
For the incremental cost calculation, if pricing to other alternatives to the advanced LED control project was included in project documents, the alternative project was used as the baseline.
State | Current Commercial Code | Code Adoption Status (date of last revision) | Current Update Status | Update Cycle | Responsible Agency
Connecticut | 2009 IECC with reference to ASHRAE 90.1-2007 | Adopted Sept 27, 2011 | Hearings for 2012 IECC adoption expected in 2016 | Not more than every 4 years | Department of Administrative Services- Division of Construction Services
Delaware | ASHRAE 90.1-2010 | Adopted May 11, 2014. Effective November 11, 2014. | - | No set schedule. New legislation considered in January of each year. | Department of Natural Resources and Environmental Control- Division of Energy and Climate
District of Columbia | 2012 IECC with DC amendments, plus 2012 IgCC-based Green Code | Adopted and effective March 28, 2014 | - | The 2006 D.C. Green Building Act requires that updated building codes be submitted to the City Council by Jan 1, 2010 and again every three years thereafter. | Department of Consumer and Regulatory Affairs
Maine | 2006 IECC - ASHRAE 90.1-2007 optional | Local Opt-In Code signed into law June 24, 2011 (LD 1416) | MUBEC board currently discussing 2015 IECC with goal of enforcement starting July 2016 | No set schedule. Statewide energy requirements may be modified or changed by legislative action at the state level; changes may be proposed whenever the legislature is in session. | Department of Public Utilities- Bureau of Building Codes and Standards
Maryland | 2015 IECC with reference to ASHRAE 90.1-2013 | Adopted December 19. Fully effective from July 1, 2015 | - | Every 3 years (Corresponding to the ICC change cycle) | Department of Housing and Community Development- Code Administration
Massachusetts | 2012 IECC with MA amendments or ASHRAE 90.1-2010, plus Stretch Code where applicable | Adopted July 1, 2013. Effective July 1, 2014. | In June, MA BBRS approved 2015 IECC draft; hearings expected in 2016 | MA is required by the 2008 Green Communities Act to adopt each new IECC edition within one year of its publication. | Department of Public Safety- Board of Building Regulations and Standards
New Hampshire | 2009 IECC | Effective April 1, 2010 | NH BCRB currently discussing 2015 IECC; held hearing in August | Every 3 years | Department of Public Safety- Building Code Review Board
New Jersey | ASHRAE 90.1-2013 unamended; or ASHRAE 90.1-2007 with minor modifications | Adopted September 21, 2015. Will become fully effective March 21, 2016. | In September, NJ adopted the 2015 IECC / ASHRAE 90.1-2013 with amendments | Every 3 years (Corresponding to the ICC change cycle) | Department of Community Affairs- Division of Codes and Standards
New York | 2012 IECC / ASHRAE 90.1-2010 with NY amendments | Residential: Effective December 28, 2010. Commercial: Adopted November 18, 2014; effective January 1, 2015. | In May, the NYS Fire Prevention and Building Council approved intent to adopt the 2015 IECC | Code can be revised at any time. The State Fire Prevention and Building Code Council meets at least four times a year to consider revisions to the code. | Department of State- Division of Building Standards and Codes
Pennsylvania | 2009 IECC with reference to ASHRAE 90.1-2007 | Effective December 31, 2009 | - | Every 3 years (Corresponding to the ICC change cycle) | Department of Labor and Industry- Bureau of Occupational and Industrial Safety
Rhode Island | 2012 IECC with reference to ASHRAE 90.1-2010 | Adopted July 1, 2013. Effective October 1, 2013. | - | Every 3 years | RI Building Code Commission
Vermont | 2015 IECC with VT amendments | Adopted December 1, 2014. Effective March 1, 2015. | Residential Stretch Code became effective in December. Commercial Stretch Code is in development | Every 3 years | Department of Public Service

## Notes (hidden)
Notes
Advanced Lighting Controls can save 40-75% of energy costs compared to the preexsting case.
(Source: Discussions with L.J. Eldredge and SMUD ALC Program)
As evidenced by ERS project experience, customers who install these systems are not always using them to their full advantage (i.e. task tuning was never set up) and are thus not reaping all possible savings.
These controls can earn you 1 LEED point for metering credit, which a lot of these systems have- however, there is no standard on how accurate the metering needs to be
At this point, advanced LED controls have only penetrated 2% of the market (L.J. from DLC conference 2015).
Typical obstacles to measure adoption, according to Todd Winner's experience:
-They are comprehensive projects, so installations involve major replacements
-It's difficult to accurately predict project savings
-Cost
Typical obstacles to measure adoption, according to L.J.'s experience:
-Cost, although this is expected to go down
-Education of the proper use of the systems
Regarding presence of manufacturers by region:
Digital Lumens is out of Boston, MA
Plimoth Bay Controls is out of Plymouth, MA

## Plan (hidden)
Plan for Focused Research:
Read LED studies listed on the "Studies" tab
Investigate the ERS vendor pricing spreadsheet
Review ERS TA & TR projects
Attempt to connect with lighting distributors to collect cost information

## ALCinterview1 (hidden)
Enlighted
Chip Poland
1. Is your product integrated into an LED fixture or is it meant to add on to an existing system?
meant to add on to an existing system
retrofit solution can add technology solution by upgradeing with integrated driver and sensor solution
control unit is wired ahead of driver and has wiring to sensor
infared motion sensor
photosensor for dayligfht harvesting
bluetooth, wifi, temp, meter grade metering chip at the fixture level in the same way the utility does
LBNL just finished the testing on behalf of NYSERDA
their system was the only one that tracked parallel with metering
can eb used with LED or fluorescent with 0-10 v dimming capability
control unit is mounted in the ballast cover
| have partnered with GE eaton cooper, phillis, and 25 other smaller names and 4-5 retrofit conversion |  |  |  | that has been the normal purchase stream
they don’t want to buy the fixtures from the manufacturers
Enlighted has also worked with acuity and hubble but don't have fixed agreements with them yet where it's a catalog number like the companies listed above
He doesn't know if it’s the same price regardless of the fixture as he is not part of Enlighted's OEM division that works directly with manufacturers- they sell the mfg the sensor at the OEM rate
there are economies of scale
2. Are most of your projects new construction or retrofits?
to date the majority is retrofit- and by retrofit, he means either a gut renovation or replacing fixtures
leaving existing fixture
100 mil sq ft installed as retrofits
would be surprised if more than 10 mil sq ft in nc
3. For your retrofit projects, what lighting and what controls were previously installed?
No information regarding previously installed controls
majority is commercial office space
typical preexisting fixtures: linear fluorescent
most utilized solution upgrade- DLC's lamp retrofit- lin tube replacement plus add of external driver with dimming capability, where all circuitry is removed from the preexisting fluorescent
4. What features of your control system are customers looking for most?
energy savings is driving force allows them to move their product
often overqualified, in some cases can't get incentives because of changing wiring
so availability of rebates for their product differs across the country
task tuning always- usually 70% light output and input wattage is the max threshold
then time schedule
add passive infared (occ) and daylight
CPU is right on sensor so they do rudimntary imaging- it can tell how many people are in a room
apps offered:
hvac interface
space planning and utilization
conference room optimization
asset tracking app (hospitals)
big customers are starting to purchase because of the apps
opening to third party app development interaction
5. How do you price your system?
have direct to market program lease to own type of option
Enlighted maintains the system and controls all financial aspects. It’s very cost competitive.
6. Can you provide any examples of the price of systems you've installed?
email | may be able to get dollars can cent per square foot
7. What other systems are your customers considering when evaluating which system will best meet their needs?
customers choose between systems and between doing a lighting control improvement or not
Enlighted is a more robust and sophisticated than any, based on what he saw when he was writing a utility program in the midwest
Enlighted is installed in 50 of fortune 500 companies including google, AT&T, and Abbot
8. What factors affect the cost of your system most?
labor to install the product
no more expensive than any of the competotors
9. What are the differences in cost between your system and a minimmally code compliant system?
10. Are their differences in labor or other associated costs between your system and a minimally code compliant system?
incremental cost represents 15-20 per fixture at the facotry. That's on the high side and that cost will go down as more manufacturers. 3-4 times that to do it in the field.
installing once it's been integrated is the same
in order for system to be fully enabled (it's wireless) neets a cat 5 gateway to go to energy manager
secondary piece of equipment has to be added
not many networksed carrer solutions for 25000 feet and under
working on solution for 5-20000 ft avaiable 3rd quarter 2016
11. What information can you give of the typical cost of a NC system vs. the cost of a retrofit system?
|  | inc cost for ctrl solution |  | in a normal run of the mil lcommercial space from material case adds 50% per fixt, from labor perspective, from labor adds 10-15% at the most (running cat 5 is super easy in NC)
overall b/n retrofit and NC is probably a wash
higher labor in retrofitt than NC
but significantly less material cost for turnkey solutions
12. What are the typical savings seen by your customers?
just new connected system due to controls only 65% typical, have seen in excess of 90%
system never runs at full input wattage
13. How do you expect the price of your system to change over time? Go down? Stay the same while increasing the number of features?
mission is to reduce component cost as volume is increased
intend to continue to develop more advanced tech solution
in the past year new sesnor tech, now sensor ready driver,
maintain or reduce cost
14. What regions do you work in, and are there regional cost differences?
no regional cost differences from manufacturer perspective
price point is the same
regulkatory requirements affect end purchase price
15. What types of buildings most commonly install your system?
large commercal office space, warehouse and distribution (goingn up), healthcasre, retail
have only been installing for 3.5-4 years
16. What are the most common barriers to the installation of your system?
lack of knowledge of the tech, what it does/doesn't take to install, coming and established requirements
17. What do you think is the next feature that will be added to your controls system?
looking at dditional seensor tech
image, CO2
18. Do you know of any studies that evaluate your product?
email
19. How intelligent would you say your typical customer is- do they have a facility manager running things or not? Do they have an EMS?
We work through entrie mgmt structure
financial program designed to sell at enterprise level through c-suite
agreement to pursue entire real estate portfolio, then educate s according to individual facility needs
in general there are very few people who understand the total value proposition
often brought in as second or third considered solutions

## ALCinterview 2 (hidden)
Gabe
Gabe
Questions for Interviewing Manufacturers:
1. What can you tell me about the division of the current market place between integrated control fixtures and control systems that are meant to be added on to existing systems
| market seems to be trending toward integrated solutions |  |  |  |  | traditional ltg ctrl mfg are resistant to that from cost of sesnor perspective
| (can sig reduce cost and complexity of designing commisiioning adv controls) |  |  |  |  | compamies becoming more and more verwtically integrated, if you are a fixtt manf inytegrated ctl sounds great
We're always going to need systems that also provide separate controls- not every fixture/app makes sense to embed
Integrated will need to provide a way to interface with non-integrated
2. What is your understanding about the features avaiable in what is considered "advanced LED controls"
inc at least 3 ctrl stategies with ability to layer on top of one another
need to be at a minium, task tuning, occ sensing and daylight harvesting
also have networking
and individial addressibilty
2. Are most of your projects new construction or retrofits?
no one installs controls by themselves and it will make less and less sense to do that
pretty well understood that most are going into ground up, the problem is that we're not getting them in retrofit
3. For your retrofit projects, what lighting and what controls were previously installed?
email | reference studies
4. What features of your control system are customers looking for most?
The big problem is that they're too complex too costly is that they don’t work well. They need to be simple lower cost and work and be flexible and make chages
5. How do you price your system?
email | Have square foot data
6. Can you provide any examples of the price of systems you've installed?
email | has some
7. What other systems are your customers considering when evaluating which system will best meet their needs?
Typically peole are looking at minimally code compliant system
Code generally requires one control stragetyy in a place
stndalone controls or low voltage control panels
low voltage control panels- step above stand alone- have a panel that goes in electrical room, relays that go to lighting zones and then back to panel
8. What factors affect the cost of your system most?
mostly installating and commissioning
see daintree study he references in comments
technically these systems shouldlnt be coisting more but they do bc contractors arent' familiar with them, they're all proprietary
it's not on the equipemnt side, although premium produt - premium markup
9. What are the differences in cost between your system and a minimmally code compliant system?
Daintree study- theoretical costs
Reality is that the way it plays out in the market, advanced controls are quite a bit more expensive
10. Are their differences in labor or other associated costs between your system and a minimally code compliant system?
11. What information can you give of the typical cost of a NC system vs. the cost of a retrofit system?
12. What are the typical savings seen by your customers?
SMUD projects
Green Proving ground
LBNL study
| Meta study |  | underestimates greatly | 36%
13. How do you expect the price of your system to change over time? Go down? Stay the same while increasing the number of features?
Expect them to come down, we are hooping to drive them down faster than they would otherwise
Cost of networking and sensors continue to rrend down
economies of scale will drive down
chip integration will drive things down
now have separate chips for lots of things and it’s possible to include everyhtning on one chip
of course if mfg make this stuff simpler and more standardized to install and installers becomer more familiar we will see more significant labor costs drop
auto commissioning will improve commsisioning cost
all on integrated control side of things - smartcaset has one button commissioning
14. What regions do you work in, and are there regional cost differences?
mostly labor, especially union labor
NEEA- study I can look up - had a bunch of different contracots install the same system
15. What types of buildings most commonly install your system?
historically pre-integrated controls large buildings sophisticated customers with lots of money with green emphasis
will be appliccable to everyone
starting to see evidence of that in MA an aggressive prescriptive incentive for integrated ctrls. They will probably reign that in
Small businesses started installing
16. What are the most common barriers to the installation of your system?
lack of knowledge and experience- design install commission and operate
driven by complexity
which is driven by lack of standardization
which leads to higher costs
also uncertainty of savings and benefits
and those two things lead to weak value proposition
utility program design has not done well to support this technology
custom
doesn’t syupport high value
unpredictable
| market friendly approached |  |  |  |  | national working group to develop two market friendly approaches- prescriptive for simpoler integrated controls and for more complex networked ssytems,
still do custom savings but develp market friendly prescriptibve incentive approach- dollars per square foot
17. What do you think is the next feature that will be added to your controls system?
task tuning/in trim
individual trim?
self commissioning and self optimizing
color tuning - according to time of day or your own preference
plug load control
wayfinding
wifi
location and retail analytics
business process optimization
track people and objects- where they're moving
space utilization
energy monitoring- embedding a meter chip in every luminaire so it can measure its own energy use and report it
18. Do you know of any studies that evaluate your product?
19. How intelligent is the typical customer
uneducated on these systems
need to address it from the technology side
then the education job becomes so much simpler
neep is rolling out education for adv ctrls over the next few years
CODE
something on the NEEP website
most states in the region are on ashrae or iecc a couple on most recent a couple on past
generally you don't find that any have developed requirements other than that

## ALCinterview 3 (hidden)
|  |  | Lutron | Mike
| Questions for Interviewing Manufacturers: |  |  |  | Incremental cost study for emerging technologies
Focusing on Advanced LED controls
1. Is your product integrated into an LED fixture or is it meant to add on to an existing system?
2. Are most of your projects new construction or retrofits?
retrofits
3. For your retrofit projects, what lighting and what controls were previously installed?
basic ones that the mfg no longer suports
4. What features of your control system are customers looking for most?
nothing special
5. How do you price your system?
$50,-$200,000 for quntum
$250/private office
6. Can you provide any examples of the price of systems you've installed?
email | may be able to get dollars can cent per square foot
7. What other systems are your customers considering when evaluating which system will best meet their needs?
8. What factors affect the cost of your system most?
features
for basiuc system- ampount of produc
9. What are the differences in cost between your system and a minimmally code compliant system?
email
10. Are their differences in labor or other associated costs between your system and a minimally code compliant system?
depends if there was a lutron system previosuly installed- if so can resuse some of the cabling
11. What information can you give of the typical cost of a NC system vs. the cost of a retrofit system?
comparable if there wasn't a lutron system in there previsouly
12. What are the typical savings seen by your customers?
email
13. How do you expect the price of your system to change over time? Go down? Stay the same while increasing the number of features?
maintain or go up with featuyres
14. What regions do you work in, and are there regional cost differences?
doesn't know they rely on the local contracotrs to price the system
15. What types of buildings most commonly install your system?
large offices
retail
restaurant
sporting venues
classroom- dartmouth harvard
16. What are the most common barriers to the installation of your system?
knowledge of the contractors
17. What do you think is the next feature that will be added to your controls system?
18. Do you know of any studies that evaluate your product?
maybe
19. How intelligent would you say your typical customer is- do they have a facility manager running things or not? Do they have an EMS?
it's the knowledge of the contractor he's concerned about

## ALCinterview 4 (hidden)
[5 empty] | Dynalite | Mike Piper
| Questions for Interviewing Manufacturers: | [5 empty] | Incremental cost study for emerging technologies
Focusing on Advanced LED controls
1. Is your product integrated into an LED fixture or is it meant to add on to an existing system?
2. Are most of your projects new construction or retrofits?
generally shy away from minor renovation bc of cabling
3. For your retrofit projects, what lighting and what controls were previously installed?
simple wall box doimmers to basc controls like relay panles or networkable relay systems- generally not a networked system
4. What features of your control system are customers looking for most?
Depends on operation of the building- owner of a hotel is different than owner of k-12 or comm office
depends on qualifications of the end user- do they have people on staff to operate it
5. How do you price your system?
Systems are looked at material cost, commissioning before and after, fixtures (including or not including fixtures), how the spec is written, trainings
systems are highly customizable so
20 components- smallest system can be 3 components or 17 million
10 story offiec building half a mission dollars- controls
6. Can you provide any examples of the price of systems you've installed?
Worked on a project in FL in healthcare- 80 similar rooms- they are treating these rooms as identical operation- individually would be $5000 per room - but since they're treating them as individual spaces - cost might go up to $6-6500 cost per room- depends on level of integration
Commissioning and setiup is 10% of project, integration with other systems is 25-35% of the project
Don't quote line item pricing
email | rough end user pricing
7. What other systems are your customers considering when evaluating which system will best meet their needs?
In general, it depends on their building, LEED, will be choosing an advanced LED ctrl system- will look at Lutron and Encelium
Philips has the luxury of offering the full portfolio of luminaires
8. What factors affect the cost of your system most?
Budget of the project- if owner has money, luminaire structure
9. What are the differences in cost between your system and a minimmally code compliant system?
email | very cost effective basic only cost effective basic only
10. Are their differences in labor or other associated costs between your system and a minimally code compliant system?
11. What information can you give of the typical cost of a NC system vs. the cost of a retrofit system?
12. What are the typical savings seen by your customers?
email | 40-60%
13. How do you expect the price of your system to change over time? Go down? Stay the same while increasing the number of features?
Material cost (raw) don't have control over- 3 years ago there was a increase in price of fluorescent tubes, cost of finishes- with 200 wall stations wanted 24k gold instead of stainless steel. Costs will generally increase slightly bc people want to integrate things more over time
Initial cost might increase over the course of time but they should be a net positive
14. What regions do you work in, and are there regional cost differences?
When we put together project quotes they don't include regional differences- they have low energy costs east of the mississippi, bad for lighitng control providers
15. What types of buildings most commonly install your system?
| Schools, university and elementary |  |  | 2nd biggest player
| Commercial office space |  |  | biggest player
Hotel/Hostpitality
Fed/state/military
healthcare is interesting bc it has its own set of standards
churches/houses of worship
don't general do theaters
16. What are the most common barriers to the installation of your system?
1. cost during construction- look at us as low hanging fruit to cut things out
An electrical contracotr will say he can save $50,000 dollars
2. End user capabilities- large scale restaurant - owner may want it but has no one to operate
17. What do you think is the next feature that will be added to your controls system?
email | one of the things is power over ethernet lighting |  | now powering lighting over low voltage cabling which means you can receive digital communication back over the same line
18. Do you know of any studies that evaluate your product?
email
19. How intelligent would you say your typical customer is- do they have a facility manager running things or not? Do they have an EMS?
the way their system is deployed is that intelligaent stations and wall stations can maintain it so they don't need any
a software packeage that involves task tuning and integration between management
k-12 school doesn't have someone on staff but the district does
Don't need to have someone on staff but you need to have access
Or can have thrid party
Many times he doesn't have access to end customer, access to with MEP or architect
Generally, by the time someone has decided to get a system there has already been buy in at the design
He will send docs that describe what they've got

## ALCinterview5 (hidden)
|  |  |  | nLight | Anothony
| Questions for Interviewing Manufacturers: |  |  |  |  | Incremental cost study for emerging technologies
Focusing on Advanced LED controls
1. Is your product integrated into an LED fixture or is it meant to add on to an existing system?
There isn't a time where we can't use it
Fresco works with nLight
Acuity brands umbrella corp for nlight
part of sensor switch
can work with any ltg mfg out there, everything happens in the relays, and offer fixtures with nlight already installed
| currently nlight is all cat5 connections- nlight wireless is in the works | LC&D has a wireless solitions
2. Are most of your projects new construction or retrofits?
Good split- lots of office fit outs and nc
From an installation standpoint
3. For your retrofit projects, what lighting and what controls were previously installed?
manager has extensive background with lighting controls
Occupancy only
4. What features of your control system are customers looking for most?
flexibility of the system, energy savings
Title 24 compliance
5. How do you price your system?
email Jason | high bound individual ctrl of evvery fixture, $1.50/ft sq, avg $1.10-1.20, before rebates |  | these numbers include commissioning 2 days of start up- 1 day of start up and 1 day of training for end users
minimally code compliant system in the northeast $0.90 for nLight
6. Can you provide any examples of the price of systems you've installed?
email Jason
7. What other systems are your customers considering when evaluating which system will best meet their needs?
typically there is another advanced LED control system in consideration
8. What factors affect the cost of your system most?
upfront material is the first cost people notice, labor savings is widely known because you don't have to pull wire
if you're looking at typical system like analog sensor switch in a typical private office you're making 9 connections instead of 5
labor
9. What are the differences in cost between your system and a minimmally code compliant system?
email | very cost effective basic only cost effective basic only
10. Are their differences in labor or other associated costs between your system and a minimally code compliant system?
labor, wiring, commissioning
code compliant doesn't have to be netrworked
11. What information can you give of the typical cost of a NC system vs. the cost of a retrofit system?
email Jason
12. What are the typical savings seen by your customers?
email Jason | $3,000/ year , code $1,200
13. How do you expect the price of your system to change over time? Go down? Stay the same while increasing the number of features?
see it going down because of the innovations in the ctrls world
from an integrated controls standpoint or a knowledge of the product in the marketplace, and getting it closer to standard
14. What regions do you work in, and are there regional cost differences?
Focus on eastern MA and RI and the biggest cost difference in energy- $.16/kWh and labor is higher ($100/hr for contractor) compared to rest of counrty
15. What types of buildings most commonly install your system?
offices
schools- universities and k12
16. What are the most common barriers to the installation of your system?
Contractor training and education of the system
17. What do you think is the next feature that will be added to your controls system?
wireless integrated control
18. Do you know of any studies that evaluate your product?
email him
19. How intelligent would you say your typical customer is- do they have a facility manager running things or not? Do they have an EMS?
there is a good base of education right now- codes are driving control decisions, people see the advantages of having a flexible system
when people first see the system it can be overwheling because there is so much choice and flex

## Features
Advanced LED Controls: Features
Definition of Advanced LED Controls
For the purposes of this project, ERS defines an "advanced" LED control system as one with overlapping occupancy sensing, daylight harvesting, and task tuning, plus networking and individual addressibility.
Advanced LED Control Features Available on the Market
Networked
Zoning - Reconfigurable with layering
Occupancy sensing
Daylight Harvesting
Task tuning
Continuous dimming
Autonomous/distributed processing scheduling
Luminaire integration
Scheduling
Personal control
Load shedding/demand response
Plug load control
EMS/BMS integration
Energy performance monitoring
Device monitoring/remote diagnostics
Operational and standby power
More than 150 fixtures controlled
AutoDR capable
Ability to modify operating schedules for fixtures w/in each zone via internal & external means (software interface, web, smartphone, etc)
Graphical User Interface
Security
Display near real time status of the lighting fixtures (i.e. on, off, dimmed mode) on a floor plan
Ability to modify time delays and operating schedules for occupancy sensors within each zone via the software interface
Source of above table: manufacturer interviews, MassSave Networked Lighting Controls Program, Deisgn Lights Consortium Qualified Products List, and the SMUD Advanced Lighting Controls Program.
Examples of advanced LED control products
Manufacturer | Product Name | Website
Crestron | Crestron Lighting Control & Fusion | http://www.crestron.com/resources/product_and_programming_resources/catalogs_and_brochures/online_catalog/default.asp?jump=1&model=sw-fusion-em
Cree | Smartcast | http://lighting.cree.com/products/indoor/controls/cree-smartcast-technology
Plimoth Bay Controls, LLC | SunSense | http://plimothbaycontrols.com/project/sunsense-system-lighting-control-server/
Lutron | Quantum | http://www.lutron.com/en-US/Products/Pages/WholeBuildingSystems/Quantum/Overview.aspx
Osram Sylvania | Encelium | https://www.sylvania.com/en-us/products/lighting-controls/Pages/ENCELIUM-Wireless-Solutions.aspx
Enlighted | Enlighted Room Control | http://www.enlightedinc.com/wp-content/uploads/2015/04/Room-Control.pdf
Philips | Dynalite | http://www.isearch.philips.com/search/search?q=dynalite&s=lighting&l=global&h=lighting&sid=header
Cooper Controls | Fifth Light | http://www.cooperindustries.com/content/public/en/lighting/controls/brands/flt.html
Autani, LLC | LightCenter | http://www.autani.com/products/lighting-controls/
Acuity | nLight | http://nlightcontrols.com/
legrand | WattStopper | http://www.wattstopper.com/products/lighting-control-panel-systems.aspx#.VfCYvRFVhBc
Digital Lumens | LightRules | http://digitallumens.com/products/lightrules/
Daintree | ControlScope | http://www.daintree.net/products/wireless-lighting-control/
Dimonoff Inc | Lite node | http://www.dimonoff.com/news/litenode-intelligent-wireless-relay-simply
Delta Controls | DDM-880, DLC-G1212, DLC-Pxxxx | http://www.deltacontrols.com/products/lighting-control/centralized-lighting-control
Exergy Controls | XRG-1000 | http://www.exergycontrols.com/the-exergy-system/
Fulham Controls | ROOM SOLUTION | http://horse.fulham.com/product-systems/control-systems/
Eaton Cooper Industries | Metalux Encounter | http://www.cooperindustries.com/content/public/en/lighting/redirects/encounter.html
Eaton Cooper Industries | Sky Ridge LEDs | http://www.cooperindustries.com/content/public/en/lighting/products/recessed_linear_lighting/direct_indirect/_843402.html
Dialight | SafeSite | http://www.dialight.com/Product/Category/SafeSite_LED_Lighting_LED_Linear_Fixtures
Philips | Spacewise | http://www.usa.lighting.philips.com/lightcommunity/trends/led/spacewise.wpd
Crestron | Crestron Lighting Control & Fusion | http://www.crestron.com/resources/product_and_programming_resources/catalogs_and_brochures/online_catalog/default.asp?jump=1&model=sw-fusion-em

## Studies
Advanced LED Control Studies Reviewed
The following studies/papers were reviewed and used in the incremental cost report:
GSA “Wireless Advanced Lighting Controls Retrofit Demonstration” (April 2015)
http://www.gsa.gov/portal/mediaId/227615/fileName/Wireless_Advanced_Lighting_Controls_Retrofit_Demo_FINAL-508-062915.action
Notes: | Market trend identified: market is moving toward integrated LED controls
Biggest barrier to adv led ctrls: high installation cost (partially due to unfamiliarity with the market)
Costs are expected to decrease over time
Sanders, Dane and Chinnis, Darcie. “Wireless Lighting Controls: A Life Cycle Cost Evaluation of Multiple Lighting Control Strategies.” Prepared by Clanton & Associates, Inc. for Daintree Networks.
http://www.daintree.net/wp-content/uploads/2014/02/clanton_lighting_control_report_0411.pdf
Notes: | Wireless Full-Dimmings Lighting Controls have the lowest life cycle cost of any control strategy on the market today when considered over ten years.
Other intangible benefits of wireless, full-dimming controls (considered by this report to be "advanced" LED controls) are discussed, including employee satisfactin
The following were reviewed but not used in the incremental cost report:
Article: FacilitiesNet.com
http://www.facilitiesnet.com/lighting/article/Advanced-Lighting-Control-Strategies-Like-Light-Level-Tuning-Demand-Response-Save-Energy-Facilities-Management-Lighting-Feature--13945
ACEEE White Paper (Helen Aki, CEE)
http://aceee.org/files/proceedings/2014/data/papers/4-793.pdf