## DHP Studies - Synopsis
DB# | Reference Study | Synopsis
1 | Bangor Hydro Electric and Maine Public Service Heat Pump Pilot Program | This is an interim report on the summer impacts of a heat pump pilot program in Maine. As we finalized this meta-study, the final report became available and we have updated the findings.
2 | Performance of Ductless Heat Pumps in the Pacific Northwest | This study reports results from a Pacific Northwest utility pilot program which installed, monitored, and evaluated DHP technology. The paper reports on the evaluation of sub-metered data collected on 14 homes. Four channels of energy use are monitored: DHP, electric heat, hot water, and total use.
3 | Air Source Heat Pumps in Southeast Alaska | The Cold Climate Housing Research Center prepared this study that includes a literature review, market assessment, and preliminary modeling for residential heat pumps in Southeast Alaska to provide a picture of the current use in that region. The four sections of the report include a primer on air source heat pumps, a literature reivew regarding heat pumps in cold climates, a southeast Alaska market assessment, and RETScreen and AkWarm modeling.
4 | Mini Split Heat Pump Efficiency Analysis | Analysis conducted by CSG based on historical data referencing other studies. Indicates that heat pumps currently operate with lower carbon footprints and comparable end-user operating costs to current combustion heating equipment. The trend for heat pumps suggests that efficiencies will continue to increase significantly over the coming years, whereas combustion equipment is near its maximum theoretical limit and will therefore remain relatively steady.
5 (16) | Ductless Mini Pilot Study | This 2009 study is an evaluation of a DSHP pilot program conducted by CL&P, UI, NSTAR, and Ngrid in CT and MA in which DHP were installed at approximately 145 sites with installation costs fully paid by the utilities. Energy and demand impacts and customer satisfaction and perspective were assessed.
6 | DHP Monitored Projects from Marc Rosenbaum | N/A
7 | Ductless Heat Pump Engineering Analysis | The study described in this report was funded by the Bonneville Power Administration (BPA) to provide an assessment of the state of technology development and the potential for emerging technologies to increase the efficiency of electricity use.This study evaluated the impact of ductless heat pumps (DHPs) on single-family and manufactured homes with forced-air furnaces (FAFs).
8 | Commonwealth Accelerated Renewable Thermal Strategy | This is a market strategy report covering current state and potential of several technologies - only general technical information is included
9 | Massachusetts Renewable Heating and Cooling Opportunities and Impacts Study | This non-technical report covers market barriers and potential for multiple renewable energy systems - DHPs are classified as renewable energy systems for this report
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | This is a comprehensive report covering an extensive billing analysis report on the heating and cooling savings for DHPs in the PNW - it expands upon and updates/modifies the savings reported in the Field Metering Report
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | Field monitoring of several DHPS with COP and savings calculations
12 | Energy Efficient Heating Options: Pilot Projects and Relevant Studies | The document is a report to the Maine legislature that outlines opportunities related to reducing heating costs for Mainers. The data relevent to DHP in this report is excerpted from Study #1
13 | Efficiency Maine Low Income Multifamily Weatherization Program | This study assesses the realization rate of savings resulting from upgrades funded by the Maine Low Income Multifamily Weatherization Program by comparing pre- and post-upgrade utility data.
14 | Laboratory Test Report for Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pumps | This study evaluates the Northwest Ductless Heat Pump Pilot Project with field monitoring of 95 DHP installations throughout the Pacific Northwest and laboratory performance testing of two DHPs: the Fujitsu 12RLS and Mitsubishi FE12NA.
15 | Mitsubishi Heat Pump VRF Market Data | This data produced by Mitsubishi Electric shows market growth, history, and forecast for DHPs.
16 | Ductless Split Heat Pump – Retrofit (Measure 21) | N/A
17 | MA Cool Smart (Vol. Ductless Mini-Split Heat Pump Survey Results) | This is a slide deck that presents summarized results of study #39
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | Final report in a series of evaluation reports based on a pilot project that ran in the Pacific Northwest in 2008-2009, and was monitored through 2012. 3,899 DHP units were installed through the 2008-09 pilot in homes that had previously been heated by electric resistence heat, and there has been extensive evaluation of both technical performance and market impacts. The pilot focused on displacing, rather than replacing existing heating systems, offseting significant portions of the heating load without eliminating the need for a primary heating system that can maintain comfort in more extreme conditions.
19 | Northeast/Mid-Atlantic Air-Source Heat Pump Market Strategies Report | This report characterizes the opportunity for homes to reduce home energy consumption, costs, GHG emissions, and for states to meet energy policy goals. It also identifies market barriers and recommends strategies to realize the important potential for energy and cost savings with DHPs.
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | Reports the results of primary research conducted to better determine the potential for energy savings and efficiency program support for ductless mini-split heat pumps (DHPs)in the residential sector, particularly in heating‐dominant climates, and to determine appropriate methodologies for assessing the savings.
21 | Northwest Ductless Heat Pump Initiative (#E12-245 ed., Vol. Market Progress Evaluation Report #2) | This is the 2nd report on market progress for this substantive, long range NEEA study. It is more specific than the overall final report for the project (Study # 18) It reports that since the initiative launch, over 15,800 DHPs have been installed in the Nothwest.
22 | Heat Pumps (Vol. An alternative to oil heat for the Northeast - input for planners and policy-makers) | Policy paper that presents heat pumps (not just DHP) as an alternative to oil heat in the Northeast. It reviews some market barriers and presents a high level picture of the underlying negatives for oil heat in the Northeast.
23 | A Case Study: ~3,000 Ductless Heat Pumps in Maine | This presentation covers a range of considerations associated with specifying and installing heat pumps in cold climates, addresses DHP concerns, reviews key factors that affect performance of DHPs in cold climates, and interprets manufacturers’ specifications.
24 | Cold Climate Ductless Heat Pumps – Measured performance | This study explores the measured results of a DHP Installation: Stamford, VT July, 2012. Also touches upon Maine program experience, including evaluation billing study
25 | Air Source Heat Pumps in Cold Climate Homes: Expert Meeting Report | The Consortium for Advanced Residential Buildings hosted an Expert Meeting with 45 participants to establish current status and future potential of ccASHP technology including surveys on installations, testing, implementation, program metrics, etc..
26 | Technology Trends (Vol. Cold Climate Heat Pumps / Mini Splits) | Presentation covering technology trends of cold climate heat pumps & mini splits
27 | N/A | N/A
28 | Northwest Ductless Heat Pump Initiative: (#E14-278 ed., Vol. Market Progress Evaluation Report #3) | This is the 3rd report on market progress for this substantive, long range NEEA study. It updates findings from study #21, and provides some of the basis for study #18. Between the initiative launch in 2008 and the As of the publication date utilities have supported the installation of over 19,000 DHPs through the pilot and subsequent programs.
29 | Ductless Heat Pump Impact & Process Evaluation: Lab-Testing Report | Same as #8
30 | Ductless Heat Pump Retrofits in Multifamily and Small Commercial Buildings | This study evaluates the electricity savings that can be gained by installing ductless heat pumps (DHPs) in multifamily and small commercial applications in the Pacific NW.
31 | Eliakim’s Way Three Year Energy Usage | Study focuses on homes in Massachusetts with new DHP installations with three years of annual data at a glance. Not too much substantial info.
32 | Mitsubishi Indoor Unit Brochure | Overview of Mitsubishi Electric cooling and heating systems' specifications for their DHP indoor fan units.
33 | Mitsubishi System Technologies | Overview of Mitsubishi Electric cooling and heating systems' specifications for their DHP models.
34 | Ductless Mini-Split and Multi-Split Heat Pump units under 65kBtuh | This work paper addresses replace on burnout (ROB) of a split system air conditioning unit <65kBtu/h in commercial applications with equivalently sized mini-split ductless systems at 16, 19, and 22 SEER and multi-splits at 16 and 19 SEER.
35 | Improved Modeling of Residential Air Conditioners and Heat Pumps for Energy Calculations | This report presents improved air conditioner (AC) and heat pump (HP) modeling methods in the context of whole-building simulation tools. Its goal is to enable more accurate evaluation of cost-effective equipment upgrade opportunities and efficiency improvements in residential buildings.
36 | Laboratory Testing of Residential, Variable Speed Heat Pump | The objective of this work was to assess the heating performance of a newly developed residential variable capacity heat pump. Evaluating the steady-state, frost accumulation, and cyclic operation of the system were focuses within the assessment. Quantifying the energy savings potential of the residential variable capacity system and identifying the characteristics of variable speed equipment which result in system performance were included in the evaluation.
37 | Economic and Environmental Analysis of Residential Heating and Cooling Systems: A Study of Heat Pump Performance in U.S. Cities | This study analyzes and compares the energy and environmental impacts of HVAC options on an hourly or seasonal basis. It addresses which options are most cost-effective, which provides the greatest CO2 reductions, and which cities are consumers more likely to gain benefit from these technologies.
38 | Kallock FE18 Data | N/A
39 | Ductless Mini-Split Heat Pump Customer Survey Results | A web survey conducted of participants in The Massachusetts COOL SMART program to better understand motivations for participating and how the DHP equipment is being used. The final survey included responses from 430 participants, and the key findings are as follows: DHPs are being installed as retrofit projects, the majority of participants are installing DMSHPs for improved comfort, more often for for cooling than heating, and are being used to supplement, rather than replace existing heating systems.
40 | Incremental Cost Study Phase Two Final Report | This report presents the results of the Second Phase Incremental Cost Study (ICS) commissioned by the Evaluation, Measurement and Verification (EM&V) Forum Research Subcommittee (Subcommittee) to investigate and update incremental costs for a number of common measures employed in energy efficiency programs, including DHPs.
41 | Emera Maine Heat Pump Pilot Program (Vol. Final Report) | This is the final report from the Maine evaluation covered by the preliminary report listed as report #1
42 | Heat Pump Impact on Load Forecast | Presentation presenting predicted impacts of heat pump installations on Vermont energy loads

## DHP Studies-Market Condensed
DB# | Reference Study | N/A to Market / Customer issues | Customer Characteristics | Customer satisfaction | Customer Comfort | Barriers | Market Characteristics | EE Program Information | Quality of installations | Installed unit costs
1 | BHE-EMT Heat Pump Interim Report 2013 |  | X | X |  | X | X | X
2 | BPA- ACEEE Performance of DHP in the Pac. NW 2010 | [5 empty] | X
3 | CCHRC ASHP Report 2013 | [5 empty] | X | X |  | X
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 |  | X | X | X | X | X |  | X
7 | BPA DHP Engineering Analysis (Res) 2012 |  |  | X | X
8 | DOER Renewable Thermal Strategy Report 2014 |  |  |  |  | X | X
9 | DOER Renewable Heating & Cooling Impact Study 2012 | [5 empty] | X
10 | NEEA DHP Billing Analysis Report 2013 | [5 empty] | X
11 | NEEA DHP Evaluation Field Metering Report 2012 | [5 empty] | X
15 | Mitsubishi Heat Pump Market Data 2011 | [5 empty] | X
18 | NEEA DHP Final Summary Report 2014 |  |  | X | X | X | X | X
19 | NEEP Strategy Report 2013 |  |  |  | X | X | X | X |  | X
20 | NEEP DHP Report Final 2014 |  |  | X | X |  | X
21 | NEEA DHP Market Progress Eval 2 2012 |  | X | X |  | X | X | X | X | X
22 | Rocky Mountain Instit. DHP Paper 2013 |  |  |  |  | X | X
23 | EMaine Case Study (Andy Meyer) 2014 | [6 empty] | X
28 | NEEA DHP Market Progress Eval 3 2014 |  | X |  |  |  | X | X
39 | Ductless Mini-Split Heat Pump Customer Survey Results |  | X | X | X |  | X | X
40 | NEEP incremental cost study | [5 empty] | X |  |  | X

## Customer Characteristics
DB# | Reference Study | Customer Characteristics | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | Study looked at customer motivations for participating in the DHP program. 81% cited saving on heating expenses was the primary reason for installing a DHP.51% of respondents cited "to take advantage of the program" as a secondary reason. Only 5% cited air conditioning as the primary reason for installing the DHP but 60% indicated that air conditioning was among their reasons for choosing a heat pump. Most installers agreed that most of their heat pump customers were already aware of and educated on the technology, and were in general more affluent and educated.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | Did not find anything relevant
21 | NEEA DHP Market Progress Eval 2 2012 | X | 300 phone surveys were completed in 2012- 101 with homeowners who had installed a DHP through the program and 199 with the general population. The survey identified utility sources as the most common information source regarding DHP (52%) followed by word of mouth (47%) and contractors/installers (30%). The study identified that 32% of respondents reported that hearing about DHP from a friend or relative influenced their purchase. It also found that the main reason for homeowners' initial interest in DHP was a desire to be more energy efficient, but that adding cooling (23%), the need for additional/supplemental space conditioning (22%), existing heating was not working well enough (20%), and needed space conditioning and had no ducts (17%) were all significant. Since installing DHP 96% of participants now rely on the DHP as their primary heat source. Comfort potential and cheaper operating costs were very important factors in customers' decision to install DHP, as were the installed cost of the unit and the cooling capacity. For the general population, roughly 3% had actually installed a DHP outside of the program. 34% were aware of DHPs. Of these, 41% had heard about DHP from friends and relatives. 41% of the non-participants were aware of DHP and had considered installing one. Over half of the non-participants who were aware of DHP knew that utilities provided incentives for them.
28 | NEEA DHP Market Progress Eval 3 2014 | X | 304 phone surveys were conducted- 101 for households that had installed DHP through Q1 2012 and 203 general population surveys. Surveys were also conducted with contractors- both those who have interacted with the initiative and those who have not. Surveys were also conducted with representatives of 24 Northwest utilities with DHP programs and with 13 DHP manufacturers and distributors. Most commonly participants learned about DHP from someone they knew or by utility sources. A significant number also learned about DHP from home shows and through the internet or social media. 51% of participants were initially interested in DHP to become more energy efficient, 16% needed heating or cooling and had no ducts, and 16% wanted to lower their energy bills. Only 8% said that their initial interest was due to rebates, though 35% said that rebates were very important in making the purchase decision and 46% said rebates were somewhat important. Only 2% said that rebates were not important at all. Factors that influenced participants purchase decisions include cheaper operating costs (93% said this was at least somewhat important), purchase/installation costs (83% said this was at least somewhat important) and comfort potential (81% said this was at least somewhat important). Post-install, 94% of participants report that the DHP is now their primary heating source.
OVERALL SUMMARY |  |  | Data is limited to studies in Maine and the Northwest. In both cases customers primarily purchased heat pumps to lower heating costs, increase home comfort, and become more energy efficieint. However, the added benefit of cooling and available incentives help close the sale. DHP customers in areas with mature programs have heard about the technology through PA promotion efforts, word-of-mouth, and contractors. Once installed, the vast majority of DHP owners tend to use them as their primary heating and cooling source.

## Customer Satisfaction
DB# | Reference Study | Customer satisfaction | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | Survey of 945 program participants with DHP installations in Maine. Overall, satisfaction with the Program and each of its components is quite high (e.g., participating contractors, response from program staff). On average respondents rated the likelihood that they would recommend the DHP program 9.7 on a 0-10 scale. Among other things the study looked at customers' satisfaction with the installation of their heat pump. Most customers were very satisfied with the quality of work (76%) and the quality of the installers knowledge of heat pumps (83%). However 11% were very dissatisfied on both counts. It is not clear what caused this level of dissatisfaction.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | The study surveyed pilot participants on a number of issues. 38 out of 40 participants reported satisfaction at 4 or 5 on a 5 point scale with 5 being the highest. 31 customers indicated that the new system works better than the old one. Customers are somewhat more satisfied with the cooling performance than the heating performance. The study did also note that some participants found the remote control confusing. In terms of customer perception of savings, only 5 of 32 respondents claim that their electric bills went down a lot, and another 16 say that their bills have decreased somewhat. One of the key perceived drawbacks tot he systems was difficulty understanding the remote control- most found the systems easy to use once they got the hang of it, but felt that they needed more training at the outset.
7 | BPA DHP Engineering Analysis (Res) 2012 | X | Participant survey of 20 homes. Study evaluted the impact of ductless heat pumps in single family and manufactured homes with forced-air furnaces. Most participants were very satisfied with the sound, electricity bill, comfort, and maitenance of the systems. The rest were either neutral or satisfied.
11 | NEEA DHP Evaluation Field Metering Report 2012 | X | Strong consumer acceptance reported
18 | NEEA DHP Final Summary Report 2014 | X | The study found that DHP has strong consumer acceptance and performance that matches the space heating needs of typical utility customers. 92% of survey respondents reported high levels of satisfaction with the DHPs and with the program processes. The majority of participant and installer respondents found the installations to be quick and relatively un-burdensome.
20 | NEEP DHP Report Final 2014 | X | Participant survey. Most participants were extremely satisfied with the heating ability. All participants expressed satisfaction with the cooling performance.
21 | NEEA DHP Market Progress Eval 2 2012 | X | 89% of participants said that the DHP met their expectations. 74% report that the DHP provides sufficient heating and cooling for their household. When systems weren't able to meet heating needs it was typically when the outdoor temps were between 10 and 30 degrees. The study does not indicate how many of these systems were rated for cold climate performance. The primary reason that participants would recommend a DHP is to lower energy bills.
28 | NEEA DHP Market Progress Eval 3 2014 | X | Participants were surveyed for satisfaction on a number of performance criteria, including sound of indoor unit, required maintenance, comfort of cooling, comfort of heating, electricity bill since install, and appearance of indoor unit. A very strong majority were either very or somewhat satisfied on all these criteria.
OVERALL SUMMARY |  |  | DHP customers tend to be highly satisfied with their systems. Bill savings are noticed. For those most unsatisfied, it was regarding under-performance at lower temperatures. There is some confustion about DHP controls.

## Customer Comfort
DB# | Reference Study | Customer Comfort | Highlights
3 | CCHRC ASHP Report 2013 | X | Participant survey of several homes between 2006-2011 in Southern Alaska. With the DHPs, overall comfort improved as heat was provided to locations that were previously not heated well.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | The study ran 3 focus groups of 10-12 people each. Most attendees named increased comfort and steady temperature as a key benefit. Some participants found that in large rooms or those with hidden corners or spaces the systems failed to provide a consistent temperature.
7 | BPA DHP Engineering Analysis (Res) 2012 | X | Participant survey of 20 homes. Focus group attendees were generally satisfied or very satisfied with the system. All but 5 were very satisfied with the comfort of the new heating/cooling. Those 5 were just "satisfied."
18 | NEEA DHP Final Summary Report 2014 | X | Participant survey. Most participants reported receiving non-energy benefits from their DHPs: increased comfort, ease of control, and air filtration.
20 | NEEP DHP Report Final 2014 | X | Homeowner surveys. No negative comfort issues associated with units
OVERALL SUMMARY |  |  | Most DHP customers are satisfied with their systems. They like the increased comfort and steady temperatures in the proximity of the DHP, but find some temperature variability in other locations away from the DHP.

## Market Barriers
DB# | Reference Study | Barriers | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | The pilot program "was designed around mitigating four major barriers: (1) lack of awareness regarding heat pumps, (2) difficulty identifying qualified contractors, (3) high first costs of installation, (4) lack of available capital to make home improvements: The study looked at customer concerns and found that low temperature performance, reliability of cost savings, and reliability of the heat pump in general were the most significant concerns. The research team also surveyed installers for information on barriers. Half of the installers cited their perception that first costs were too high for many customers regardless of the sales technique used.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | For this pilot program the full installation costs were paid b y the program. In a post-install survey, 10 of 40 respondents would have kept their old system if they had to pay the full cost, 6 were unsure, and 11 would have paid the full cost.
18 | NEEA DHP Final Summary Report 2014 | X | Contractors had not seen strong market potential for DHP prior to the pilot project. The key issue in turning this around seems to be contractor understanding of the value of DHP to displace rather than replace prior heating system use. Once they accepted this approach they found that DHP had a positive impact on their businesses and on customer satisfaction. Initially there was a notable lack of customer awareness of the technology, and customers also faced aesthetic issues, first cost barriers, and a lack of a solid distribution network. Utilities, manufacturers, distributors, and installers worked together to raise awareness. Utilities reported that despite reduced marketing, consumer demand for DHP continued to grow in 2010. Most attributed this to word-of-mouth from satisfied customers.
19 | NEEP Strategy Report 2013 | X | The study includes information on market barriers, which it identifies as, among others: poor awareness of technology improvements; difficulty in identifying models designed for cold climates; large range in predicted savings; high install costs; inappropriateness of ductless systems for replacing, rather than displacing, central ducted systems. In addition, the NEEP study specifically referenced the lack of data regarding savings in fuel-switching scenarios as a barrier to rapid market growth. Also the lack of policy level awareness and support.
22 | Rocky Mountain Instit. DHP Paper 2013 | X | The barriers that this policy paper identifies are for heat pumps in general, not just for DHP. They are 1) initial costs are too high; 2) limited awareness of the technology including negative associations with the appearance of DHP and lack of qualified installers and system designers; 3) the difficulty of the retrofit installation, including challenges of replacing an existing failed oil system with a differently configured heat pump system.
OVERALL SUMMARY |  |  | (1) Lack of customer awareness and aesthetic acceptability regarding DHPs, (2) Difficulty identifying qualified contractors, (3) Lack of contractor awareness of DHP technology improvements, applicability as a displacement vs. replacement option, value to their customers and profitability to them, (4) High first costs and minimal information on predicted savings, (5) Lack of a coordinated effort between utilities, manufacturers, distributors, and installers, (6) Lack of policy-level support when using ratepayer funds.

## Market Characteristics
DB# | Reference Study | Market Characteristics | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | Study researched DHP market structure and identified key stakeholders for DHP EE programs: 1)utilities 2) Efficiency Maine3) Registered Installers 4) Distributors 5)Manufacturers 6)Financiers 7)Customers. Also looked at pre-program market indicators and determined that 20% of residential and commercial customers combined reported at least some familiarity with heat pumps, 13% of customers reported the utility as the first source of energy saving information, 4% of customers have installed a heat pump at their home, and 50% of heat pumps sold were "program eligible".
2 | BPA- ACEEE Performance of DHP in the Pac. NW 2010 | X | While primarily a metering study, this paper refers to a 2009 NEEA market assessment study that determined there are roughly 575,000 homes heated with electric resistance heat in the four state region of Washington, Oregon, Montana, and Idaho. It also notes that there have been numerous, relatively successful weatherization programs over the years that addressed energy in these homes, but that they had not in the past been able to address heating system replacement due to the high cost of distribution and the lack of capital faced by many families.
3 | CCHRC ASHP Report 2013 | X | ASHP have been used in southeast Alaska for decades, but a 1982 study found that there "was anecdotal evidence of problems with the defrost cycle" and they were used sparingly. The report suggests that technology improvements and more efficient homes with smaller heat loads have changed the relevance of ASHP for the southeast Alaska market. The report also notes that with the prevalent rain and snow in the region some installers have taken to installing a roof with open sides over the outside units to prevent snow and ice buildup on the units that would cause the defrost cycle to run more than would otherwise be necessary. The study compares oil prices (relatively high) with electricity (relatively low) which is advantageous to the installation of heat pumps. Mitsubishi and Fujitsu dominate the market for cold-climate heat pumps in this region. The study looks at installer experience, and reports that at the time the study was being conducted installers reported a surge of interest in heat pumps and saw no need for advertising.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | This study provided very limited market information, addressing only a couple of questions related to prior perceptions in focus groups. The study states that in CT there was little prior awareness of DHP among focus group attendees, while in MA the prior awareness was greater as participants had seen them either in TV commercials or at home shows. Those who had prior awareness did not do anything prior to the pilot program either because they just did not take action or because the costs were too high. Most of those who participated in the program did so to save money on their electric bills and/or to improve the quality of their home heating or to replace their previous cooling equipment.
18 | NEEA DHP Final Summary Report 2014 | X | The pilot project focused on site-built electrically heated single family homes. In order to be cost-effective and successful, the approach used was to optimize the replacement system with a single outdoor compressor and one or two indoor air handlers.
19 | NEEP Strategy Report 2013 | X | This report includes a high level assessment of the general characteristics and current heating and cooling profiles of homes in the Northeast and Mid-Atlantic regions, as well as climate data across the regions. In the Northeast, 12.5% of homes heat with electricity and 31% use heating oil. In the Mid-Atlantic nearly 26% of homes heat with electricity and only 6% use oil. The study also found that 30% of homes in the Northeast have central air conditioning while 65% of homes in the Mid-Atlantic do. In the Mid-Atlantic half of the systems are over 10 years old. Sales of ductless systems are growing at a strong pace- 17% per year average between 1999 and 2011. Fujitsu and Mitsubishi reported 25%-35% growth in the sale of inverter-driven residential systems in the Northeast.
21 | NEEA DHP Market Progress Eval 2 2012 | X | The pilot targeted SF site built homes with primary electric heat, but the report also notes that many of these homes use some amount of propane, kerosene, or wood as a supplemental source. 61% of contractors surveyed expect their DHP sales to increase in the next two years. Most of these firms did not indicate any capacity constraints that would limit their ability to grow along with demand. The vast majority of contractors focused on displacing rather than replacing existing heating equipment in their marketing approaches. The study notes that in interviews with 5 DHP manufacturers and 5 distributors all indicated that they target their sales to installers and not to end users. Some distributors are working with electricians as long as they have a refrigerant license, but others are not for a variety of reasons.
22 | Rocky Mountain Instit. DHP Paper 2013 | X | This paper presents market characteristics at a very high level, looking at the economic and environmental costs of heating with oil in the Northeast
28 | NEEA DHP Market Progress Eval 3 2014 | X | Per phone surveys, 21% of participants had window or room A/C prior to the DHP install, and 77% had no cooling. There were also 187 phone surveys with installers- 98 who were known to have interacted with programs and 89 with no known program interactions. About 11% of installed systems were reported to be short run or concealed duct types- these are growing in popularity because the fans are quieter and households don't want to see the indoor units. 73% of installers expect sales to increase over the next two years. 99% of participating installers and 95% of non-participating installers recommend DHP to customers. The most common reason for not recommending DHP was that the heating/cooling system is still working. multiple suppliers stated that non-incentive sales seem to be increasing and may be 50% of the market. The common reasons for not getting an incentive are that the heating fuel did not qualify, that the installation was not in primary living space, that it was for an ineligible building type, or that there was not a local program or incentives ran out.
OVERALL SUMMARY |  |  | With technology improvements to enable operating at colder temperatures and resolving other reliability, control and manufacturer support issues, the market has opened up to electrically- and delivered fuels-heated homes. Most homeowners are unaware and skeptical about the technology without a market-intervention initiative. Once a concerted effort is made to promote DHPs and quality DHPs are being installed, the word spreads and demand increases. Manufacturers and contractors all expect rapid (20-30%) growth in program areas. Depending on the region, some/many homes have some inefficient A/C (window or central) that is either replaced or displaced with much more efficient DHPs. Once a DHP market is established, about half the DHP installations occur outside of programs due to numerous program-constraining issues contractors don't want to manage.

## EE Program Information
DB# | Reference Study | EE Program Information | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | This study noted that financing is not a major driver of program participation, however 27% of program participants used some sort of financing to make their heat pump purchase.
3 | CCHRC ASHP Report 2013 | X | The study provides some limited information on utility programs for heat pumps. The City and Borough of Sitka offered a $1500 incentive for electric heat customers to switch to ASHP. Several others offered GSHP incentives but not ASHP incentives.
18 | NEEA DHP Final Summary Report 2014 | X | The study found that utility incentive programs appeared to be overcoming the first cost hurdles faced by customers in 2010. They also found that utility buy-in was critical to the success of the pilot project by using their communication channels and credibility to reach potential customers, as well as providing incentives.
28 | NEEA DHP Market Progress Eval 3 2014 | X | As of 2012, rebates ranged between $750 to $2,670 and averaged just over $1300. The most common reasons for offering rebates were the suitability of DHP for customers with electric resistance heat and regulatory obligations to provide multiple energy efficiency alternatives. DHP program budgets ranged from less than 1% to about half of utility residential portfolio budgets.
OVERALL SUMMARY |  |  | Program incentives for DHPs range widely from a few hundred to $1500 per unit. Utility incentive programs appeared to be overcoming the first cost hurdles faced by customers. Lack of financing does not drive DHP installation decitions, although it is used if available. In the PNW, DHP program budgets ranged from less than 1% to about half of utility residential portfolio budgets.

## Installed Costs
DB# | Reference Study | Market Characteristics | Highlights
3 | CCHRC ASHP Report 2013 | X | The study reports an installed cost for a DHP at about $3500. Another mention in the report suggests $3000 for a DHP that is effective down to 20 degrees F.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | Average installed costs for this pilot program ranged from $4200 to $9440 though it is not clear how many of these were single vs. multi-zone systems.
19 | NEEP Strategy Report 2013 | X | Identifies a range of installed costs in studies between 2009 and 2013 of $2,069 to $12,267. There is not sufficient information to understand the basis of these cost differences.
21 | NEEA DHP Market Progress Eval 2 2012 | X | Installed costs were lower for contractors who are more active with DHP- $3188 for a single headed system as compared with $3694 for less active contractors.
28 | NEEA DHP Market Progress Eval 3 2014 | X | Installed costs for a single head unit are about $4000 and suppliers do not expect that to change
40 | NEEP incremental cost study | X
OVERALL SUMMARY |  |  | Installed costs seem to range between $3,000 and $4000 per single-head unit. Installed prices come down as markets mature.