## Summary
Appendix G
Maryland 2016 Average Residential Program and Measure Savings and Cost Summary
HVAC Program Measures
Measure | Quantity | Average Install Cost (Customer Cost before incentive) | Average Incentive | Average kWh | Average kW | Utility Administration Costs | Outside Services | Marketing Costs | Evaluation Costs | Incentive Cost
ASHP SEER 16-18 | 4550 | 7694.1447 | 764.7736 | 732.8719 | 0.29968 | 300788.9128 | 1694064.226 | 628219.9733 | 466779.6625 | 17769045
ASHP SEER 18+ | 2881 | 11730.9415 | 1264.6182 | 1383.0884 | 0.33963
CAC SEER 16-18 | 7335 | 5712.6347 | 567.7941 | 258.3912 | 0.27345
CAC SEER 18+ | 1811 | 6789.4301 | 1132.7885 | 452.5102 | 0.31027
Furnace | 2422 | 4585.3956 | 861.8105 | 273.1114 | 0.0080167
GSHP | 795 | 22386.0215 | 2250.8113 | 2086.2001 | 0.95722
Mini Split HP | 1092 | 4955.5275 | 506.4194 | 751.8846 | 0.16703
Appliance Rebate Program Measures
Measure | Quantity | Average Install Cost (Customer Cost before incentive) | Average Incentive | Average kWh | Average kW | Utility Administration Costs | Outside Services | Marketing Costs | Evaluation Costs | Incentive Cost
Clothes Dryer | 4853 | 0 | 50 | 176.6238 | 0.017747 | 353301.0741 | 1842894.2105 | 941522.1209 | 252735.347 | 1790935
Clothes Washer Tier 2 | 3577 | 0 | 75.0419 | 111.6741 | 0.012127
Clothes Washer Tier 3 | 1884 | 0 | 100 | 124.5932 | 0.013634
Pool Pump | 1445 | 0 | 399.2388 | 593.7785 | 0.24294
Refrigerator Tier 2 | 618 | 0 | 100 | 118.1076 | 0.018981
Refrigerator Tier 3 | 8 | 0 | 150 | 104.5 | 0.016883
Water Heater | 998 | 0 | 452.4649 | 1889.4039 | 0.17
Appliance Recycling Program Measures
Measure | Quantity | Average Install Cost (Customer Cost before incentive) | Average Incentive | Average kWh | Average kW | Utility Administration Costs | Outside Services | Marketing Costs | Evaluation Costs | Incentive Cost
Dehumidifier | 569 | 0 | 24.9561 | 183 | 0.042 | 277508.8915 | 783001.8906 | 590265.337 | 78728.735 | 500900
Freezer | 1915 | 0 | 49.6606 | 660 | 0.098889
Refrigerator | 7472 | 0 | 49.8394 | 1055.2425 | 0.15793
Room AC | 774 | 0 | 24.8062 | 166 | 0.16
Lighting End-Use
Measure | Quantity | Average Install Cost (Customer Cost before incentive) | Average Incentive | Average kWh | Average kW | Utility Administration Costs | Outside Services | Marketing Costs | Evaluation Costs | Incentive Cost
Lighting | 5862440 | 0 | 0.28146 | 34.7171 | 0.0050254 | 33844.5213 | 3544994.4012 | 1684544.5452 | 1172134.0439 | 1650014.22
New Construction - Whole Building
Measure | Quantity | Average Install Cost (Customer Cost before incentive) | Average Incentive | Average kWh | Average kW | Utility Administration Costs | Outside Services | Marketing Costs | Evaluation Costs | Incentive Cost
New Construction Condo | 232 | 0 | 550 | 1122.391 | 0.32657 | 316346.3108 | 857916.638 | 372565.3345 | 170252.6479 | 4941935
New Construction MF | 235 | 0 | 398.3404 | 1227.3746 | 0.34694
New Construction SF | 2117 | 0 | 1244.9103 | 2692.6954 | 0.78701
New Construction Tier 1 | 49 | 0 | 1006.1224 | 1447.5154 | 0.42214
New Construction Tier 2 | 74 | 0 | 1300 | 1810.0726 | 0.52456
New Construction Tier 3 | 175 | 0 | 1565.7143 | 2958.1752 | 0.86243
New Construction Townhouse | 2221 | 0 | 750 | 1413.9036 | 0.41019
Quick Home Energy Check-Up (QHEC) - Delmarva, PepCo, Baltimore Gas and Electric
Measure | Quantity | Average Install Cost (Customer Cost before incentive) | Average Incentive | Average kWh | Average kW | Utility Administration Costs | Outside Services | Marketing Costs | Evaluation Costs | Incentive Cost
DHW Pipe Insulation | 19068 | 11.4829 | 10.9047 | 17.7116 | 0.0020071 | 410910.8522 | 1734428.2628 | 1155557.8217 | 297742.9845 | 1903457.75
DHW Tank Wrap | 134 | 22.3881 | 39.5806 | 126.0538 | 0.014376
DHW Temperature Turndown | 294 | 0 | 0 | 112.4292 | 0.012842
Faucet Aerator | 50700 | 2.1452 | 1.9568 | 19.554 | 0.0015733
Lighting | 525160 | 0.37174 | 0.82218 | 24.4043 | 0.0029792
Non-Energy Saving | 0 | 0 | 0 | 0 | 0
Showerhead | 49413 | 9.7559 | 11.0631 | 127.737 | 0.010883
Showerhead Shut Off Valve | 7672 | 6.4481 | 13.3882 | 21.9953 | 0.0016948
Smart Strip | 24761 | 8.4476 | 20.5914 | 54.7237 | 0.0069035
Home Performance with Energy Star (HPwES)
Measure | Quantity | Average Install Cost (Customer Cost before incentive) | Average Incentive | Average kWh | Average kW | Utility Administration Costs | Outside Services | Marketing Costs | Evaluation Costs | Incentive Cost
Air Sealing | 2442 | 1100.8215 | 685.3716 | 512.1338 | 0.12104 | 337610.9905 | 2062773.5188 | 936500.1842 | 215510.4873 | 7457014.63
Clothes Washer | 1 | 0 | 0 | 349.9111 | 0.0528
Dehumidifier | 1 | 0 | 0 | 123.2308 | 0.0264
DHW Pipe Insulation | 1859 | 16.3863 | 16.3863 | 28.4417 | 0.0034416
DHW Tank Wrap | 44 | 40 | 40 | 176.221 | 0.022384
DHW Temperature Turndown | 7 | 0 | 0 | 29.9668 | 0.0080571
Dishwasher | 1 | 0 | 0 | 108.7548 | 0.0264
Duct Improvements | 654 | 826.9611 | 445.8875 | 241.5463 | 0.11025
Faucet Aerator | 2024 | 2.7391 | 2.7391 | 13.0519 | 0.0016509
HVAC | 18 | 2735.7778 | 280.5556 | 772.937 | 0.53862
Lighting | 41516 | 1.034 | 1.053 | 21.4349 | 0.0026035
Non-Energy Saving | 13863 | 243.9772 | 165.5277 | 0 | 0
Shell | 7343 | 714.0756 | 411.7445 | 242.4003 | 0.10717
Showerhead | 2023 | 14.6767 | 14.6767 | 73.7465 | 0.010659
Showerhead Shut Off Valve | 336 | 17.3795 | 17.3795 | 25.1162 | 0.0021495
Smart Strip | 2423 | 21.2598 | 21.2598 | 43.2412 | 0.0056574
Water Heater | 2 | 0 | 0 | 741.5319 | 0.122
Source: John Walczyk, Cadmus Energy Group. personal communication, April 2018
Caveats: PJM capacity payments (relatively small) not included
Data not thoroughly QC'd (averages were calculated by special request from NEEP - as this is not required by program administrators

## SQLcode (hidden)
DataExport | HVAC Tons
SELECT
IMP.UtilityName
,IMP.ProgramYearName
,IMP.SectorName
,IMP.ProgramName
,IMP.[MeasureCategoryName]
,IMP.[SourceMeasureCode]
,IMP.[MeasureDescription]
,IMP.[MeasureReportingDescription]
,IMP.[NetToGrossRatio]
,IMP.[VerifiedInstallationRate]
,[Count] = SUM (isnull([Count],0))
,[Quantity] = SUM (isnull(IMP.[Quantity],0))
,QU.QuantityUnitName
,[Incentive] = SUM (isnull([Incentive],0))
,[ExPostSavings_PJM_kW] = SUM (isnull([ExPostSavings_PJM_kW],0))
,[ExPostSavings_kW] = SUM (isnull([ExPostSavings_kW],0))
,[ExPostSavings_kWh] = SUM (isnull([ExPostSavings_kWh],0))
,INSTALLED_COST = SUM(
CASE WHEN Lighting_2014.INSTALLED_COST IS NOT NULL THEN Lighting_2014.INSTALLED_COST
WHEN Lighting.INSTALLED_COST IS NOT NULL THEN Lighting.INSTALLED_COST
WHEN ApplianceRebate_2014.INSTALLED_COST IS NOT NULL THEN ApplianceRebate_2014.INSTALLED_COST
WHEN ApplianceRebate.INSTALLED_COST IS NOT NULL THEN ApplianceRebate.INSTALLED_COST
-- WHEN ApplianceRecycling_2014.INSTALLED_COST IS NOT NULL THEN ApplianceRecycling_2014.INSTALLED_COST
-- WHEN ApplianceRecycling.INSTALLED_COST IS NOT NULL THEN ApplianceRecycling.INSTALLED_COST
WHEN HVAC_2014.INSTALLED_COST IS NOT NULL THEN HVAC_2014.INSTALLED_COST
WHEN HVAC.INSTALLED_COST IS NOT NULL THEN HVAC.INSTALLED_COST
WHEN HPwES_2014.INSTALLED_COST IS NOT NULL THEN HPwES_2014.INSTALLED_COST
WHEN HPwES.INSTALLED_COST IS NOT NULL THEN HPwES.INSTALLED_COST
WHEN QHEC_2014.INSTALLED_COST IS NOT NULL THEN QHEC_2014.INSTALLED_COST
WHEN QHEC.INSTALLED_COST IS NOT NULL THEN QHEC.INSTALLED_COST
-- WHEN NewHomes_2014.INSTALLED_COST IS NOT NULL THEN NewHomes_2014.INSTALLED_COST
-- WHEN NewConstruction.INSTALLED_COST IS NOT NULL THEN NewConstruction.INSTALLED_COST
ELSE 0 END)
,STYLE=
CASE WHEN Lighting_2014.STYLE IS NOT NULL THEN Lighting_2014.STYLE
WHEN Lighting.STYLE IS NOT NULL THEN case when Lighting.STYLE not in ('UNKNOWN') then Lighting.STYLE end
ELSE isnull(Potomac.[TD Lamp Type],'')
END
,WATTAGE =
isnull(CASE
--Lighting_2014:
WHEN Lighting_2014.WATTAGE IS NOT NULL THEN case when Lighting_2014.WATTAGE not in ('UNK','6/29/2002','12/19/2028') then CAST(isnull(Lighting_2014.WATTAGE,0) AS NUMERIC(38, 2)) end
--Lighting:
WHEN lighting.wattage='0' then 0when lighting.wattage='2' then 2when lighting.wattage='2.4' then 2.4when lighting.wattage='3' then 3when lighting.wattage='3.2' then 3.2when lighting.wattage='3.3' then 3.3when lighting.wattage='3.5' then 3.5when lighting.wattage='4' then 4when lighting.wattage='4.5' then 4.5when lighting.wattage='4.8' then 4.8when lighting.wattage='5' then 5when lighting.wattage='6' then 6when lighting.wattage='7' then 7when lighting.wattage='7.2' then 7.2when lighting.wattage='8' then 8when lighting.wattage='8.4' then 8.4when lighting.wattage='9' then 9when lighting.wattage='9.5' then 9.5when lighting.wattage='9.6' then 9.6when lighting.wattage='10' then 10when lighting.wattage='11' then 11when lighting.wattage='12' then 12when lighting.wattage='13' then 13when lighting.wattage='14' then 14when lighting.wattage='14.4' then 14.4when lighting.wattage='14.5' then 14.5when lighting.wattage='15' then 15when lighting.wattage='16' then 16when lighting.wattage='17' then 17when lighting.wattage='18' then 18when lighting.wattage='19' then 19when lighting.wattage='19.5' then 19.5when lighting.wattage='20' then 20when lighting.wattage='22' then 22when lighting.wattage='23' then 23when lighting.wattage='25' then 25when lighting.wattage='26' then 26when lighting.wattage='27' then 27when lighting.wattage='28' then 28when lighting.wattage='30' then 30when lighting.wattage='32' then 32when lighting.wattage='33' then 33when lighting.wattage='40' then 40when lighting.wattage='42' then 42when lighting.wattage='55' then 55when lighting.wattage='60' then 60when lighting.wattage='68' then 68when lighting.wattage='75' then 75when lighting.wattage='100' then 100--else 0 end
--PotomacLighting:
WHEN Potomac.[TD Wattage] is not NULL THEN CAST(isnull(Potomac.[TD Wattage],0) AS NUMERIC(38, 2))
ELSE 0
END,0)
,NATURAL_GAS_SAVINGS_MMBTU =
SUM(
CASE WHEN NewHomes_2014.NATURAL_GAS_SAVINGS_MMBTU IS NOT NULL THEN NewHomes_2014.NATURAL_GAS_SAVINGS_MMBTU
ELSE isnull(NewConstruction.NATURAL_GAS_SAVINGS_MMBTU,0)
END
)
,IMP.CalendarYear
FROM ParticipantImpactExport IMP
JOIN QuantityUnit QU ON IMP.QuantityUnitID = QU.QuantityUnitID
LEFT JOIN TrackingData.Potomac Potomac ON IMP.ParticipantImpactID = Potomac.ParticipantImpactID
LEFT JOIN TrackingData.Lighting_2014 Lighting_2014 ON IMP.ParticipantImpactID = Lighting_2014.ParticipantImpactID
LEFT JOIN TrackingData.Lighting Lighting ON IMP.ParticipantImpactID = Lighting.ParticipantImpactID
LEFT JOIN TrackingData.ApplianceRebate_2014 ApplianceRebate_2014 ON IMP.ParticipantImpactID = ApplianceRebate_2014.ParticipantImpactID
LEFT JOIN TrackingData.ApplianceRebate ApplianceRebate ON IMP.ParticipantImpactID = ApplianceRebate.ParticipantImpactID
-- LEFT JOIN TrackingData.ApplianceRecycling_2014 ApplianceRecycling_2014 ON IMP.ParticipantImpactID = ApplianceRecycling_2014.ParticipantImpactID
-- LEFT JOIN TrackingData.ApplianceRecycling ApplianceRecycling ON IMP.ParticipantImpactID = ApplianceRecycling.ParticipantImpactID
LEFT JOIN TrackingData.HVAC_2014 HVAC_2014 ON IMP.ParticipantImpactID = HVAC_2014.ParticipantImpactID
LEFT JOIN TrackingData.HVAC HVAC ON IMP.ParticipantImpactID = HVAC.ParticipantImpactID
LEFT JOIN TrackingData.HPwES_2014 HPwES_2014 ON IMP.ParticipantImpactID = HPwES_2014.ParticipantImpactID
LEFT JOIN TrackingData.HPwES HPwES ON IMP.ParticipantImpactID = HPwES.ParticipantImpactID
LEFT JOIN TrackingData.QHEC_2014 QHEC_2014 ON IMP.ParticipantImpactID = QHEC_2014.ParticipantImpactID
LEFT JOIN TrackingData.QHEC QHEC ON IMP.ParticipantImpactID = QHEC.ParticipantImpactID
LEFT JOIN TrackingData.NewHomes_2014 NewHomes_2014 ON IMP.ParticipantImpactID = NewHomes_2014.ParticipantImpactID
LEFT JOIN TrackingData.NewConstruction NewConstruction ON IMP.ParticipantImpactID = NewConstruction.ParticipantImpactID
WHERE IMP.CalendarYear=2015
GROUP BY
IMP.UtilityName,
IMP.ProgramYearName,
IMP.SectorName,
IMP.ProgramName,
IMP.[MeasureCategoryName],
IMP.[SourceMeasureCode],
IMP.[MeasureDescription],
IMP.[MeasureReportingDescription],
IMP.[NetToGrossRatio],
IMP.[VerifiedInstallationRate],
QU.QuantityUnitName,
--STYLE:
CASE WHEN Lighting_2014.STYLE IS NOT NULL THEN Lighting_2014.STYLE
WHEN Lighting.STYLE IS NOT NULL THEN case when Lighting.STYLE not in ('UNKNOWN') then Lighting.STYLE end
ELSE isnull(Potomac.[TD Lamp Type],'')
END,
--WATTAGE:
isnull(CASE
--Lighting_2014:
WHEN Lighting_2014.WATTAGE IS NOT NULL THEN case when Lighting_2014.WATTAGE not in ('UNK','6/29/2002','12/19/2028') then CAST(isnull(Lighting_2014.WATTAGE,0) AS NUMERIC(38, 2)) end
--Lighting:
WHEN lighting.wattage='0' then 0when lighting.wattage='2' then 2when lighting.wattage='2.4' then 2.4when lighting.wattage='3' then 3when lighting.wattage='3.2' then 3.2when lighting.wattage='3.3' then 3.3when lighting.wattage='3.5' then 3.5when lighting.wattage='4' then 4when lighting.wattage='4.5' then 4.5when lighting.wattage='4.8' then 4.8when lighting.wattage='5' then 5when lighting.wattage='6' then 6when lighting.wattage='7' then 7when lighting.wattage='7.2' then 7.2when lighting.wattage='8' then 8when lighting.wattage='8.4' then 8.4when lighting.wattage='9' then 9when lighting.wattage='9.5' then 9.5when lighting.wattage='9.6' then 9.6when lighting.wattage='10' then 10when lighting.wattage='11' then 11when lighting.wattage='12' then 12when lighting.wattage='13' then 13when lighting.wattage='14' then 14when lighting.wattage='14.4' then 14.4when lighting.wattage='14.5' then 14.5when lighting.wattage='15' then 15when lighting.wattage='16' then 16when lighting.wattage='17' then 17when lighting.wattage='18' then 18when lighting.wattage='19' then 19when lighting.wattage='19.5' then 19.5when lighting.wattage='20' then 20when lighting.wattage='22' then 22when lighting.wattage='23' then 23when lighting.wattage='25' then 25when lighting.wattage='26' then 26when lighting.wattage='27' then 27when lighting.wattage='28' then 28when lighting.wattage='30' then 30when lighting.wattage='32' then 32when lighting.wattage='33' then 33when lighting.wattage='40' then 40when lighting.wattage='42' then 42when lighting.wattage='55' then 55when lighting.wattage='60' then 60when lighting.wattage='68' then 68when lighting.wattage='75' then 75when lighting.wattage='100' then 100--else 0 end
--PotomacLighting:
WHEN Potomac.[TD Wattage] is not NULL THEN CAST(isnull(Potomac.[TD Wattage],0) AS NUMERIC(38, 2))
ELSE 0
END,0),
IMP.CalendarYear
ORDER BY IMP.UtilityName
,IMP.ProgramYearName
,IMP.SectorName
,IMP.ProgramName
,IMP.[MeasureCategoryName]
,IMP.[MeasureReportingDescription]
/*Grab all values from HVAC for calculating engineering values.*/
/*Averages will be used for default values in engineering calcs where some records are blank.*/
select UtilityName, UtilityID, EvaluationID, MeasureReportingDescription
/*tons*/
,ROUND(AVG(CASE WHEN TONS BETWEEN 0.1 AND 10.0 THEN TONS ELSE NULL END),2) as TONS
/*seer*/
,ROUND(AVG(CASE WHEN SEER = 'NA' THEN NULL
WHEN CONVERT(DECIMAL(8,4), SEER) BETWEEN 1 AND 30 THEN CONVERT(DECIMAL(8,4), SEER)
WHEN AC_HEAT_SEER ='NA' THEN NULL
WHEN CONVERT(DECIMAL(8,4), AC_HEAT_SEER) BETWEEN 1 AND 30 THEN CONVERT(DECIMAL(8,4), AC_HEAT_SEER)
ELSE NULL END),2) as SEER
/*hspf*/
,ROUND(AVG(CASE WHEN HSPF BETWEEN 1 AND 15 THEN HSPF
WHEN ac_heat_hspf IN ('NA','N/A') THEN NULL
WHEN CONVERT(DECIMAL(8,4), ac_heat_hspf) BETWEEN 1 AND 15 THEN CONVERT(DECIMAL(8,4), ac_heat_hspf)
ELSE NULL END),2) as HSPF
/*eer*/
,ROUND(AVG(CASE WHEN EER BETWEEN 1 AND 40 THEN EER ELSE NULL END),2) as EER
/*COP*/
,ROUND(AVG(CASE WHEN COP BETWEEN 0.1 AND 10 THEN COP ELSE NULL END),2) as COP
from HVAC_2014.Installations
where EvaluationID = 7
and MeasureReportingDescription not like 'Tune-up%'
and MeasureReportingDescription not like 'Gas Furnace%'
GROUP BY UtilityName, UtilityID, EvaluationID, MeasureReportingDescription
Union all
select UtilityName, UtilityID, EvaluationID, MeasureReportingDescription
/*tons*/
,ROUND(AVG(CASE WHEN [TD Tons] BETWEEN 0.1 AND 10.0 THEN [TD Tons] ELSE NULL END),2) as TONS
/*seer*/
,ROUND(AVG(CASE WHEN [TD SEER] BETWEEN 1.0 AND 30.0 THEN [TD SEER] ELSE NULL END),2) as SEER
/*hspf*/
,ROUND(AVG(CASE WHEN [TD HSPF] BETWEEN 1.0 AND 15.0 THEN [TD HSPF] ELSE NULL END),2) as HSPF
/*eer*/
,ROUND(AVG(CASE WHEN [TD EER] BETWEEN 1.0 AND 40.0 THEN [TD EER] ELSE NULL END),2) as EER
/*COP*/
,ROUND(AVG(CASE WHEN [TD COP] BETWEEN 0.1 AND 10.0 THEN [TD COP] ELSE NULL END),2) as COP
from Potomac.Installations
where EvaluationID = 7
and MeasureReportingDescription not like 'Tune-up%'
and MeasureReportingDescription not like 'Gas Furnace%'
and ProgramName='HVAC'
GROUP BY UtilityName, UtilityID, EvaluationID, MeasureReportingDescription